## Slide 1: Shri. Shivaji Education Society Amravati’s SHRI.SHIVAJI SCIENCE & ARTS COLLEGE, CHIKHLI.
Online Certificate Course on
Soil and Water Analysis
Determination of Potability of Water, TDS, COD and BOD of Water Sample
By
PROF. SANDIP V. DAUTPURE

## Slide 2: CONTENTS
Water Testing Parameter
Water quality parameters
and drinking water standards
Total Dissolved Solids (TDS)
Otal and Fecal Coliform Bacteria
Reverse Osmosis
Environmental Water Pollution Parameter
Biochemical oxygen demand (BOD)
Chemical oxygen demand (COD)

## Slide 11
Swimming in waters with high levels of fecal coliform bacteria increases the chance of developing illness like fever, nausea or stomach cramps from pathogens entering the body through the mouth, nose, ears, or cuts in the skin
. Fecal coliform, like other bacteria, can usually be killed by boiling water or by treating it with chlorine. Washing thoroughly with soap after contact with contaminated water can also help prevent infections
Diseases and illnesses that can be contracted in water with high fecal coliform counts include typhoid fever, hepatitis, gastroenteritis, dysentery and ear infections.

## Slide 15: Potable Water

## Slide 16: BIOCHEMICAL OXYGEN DEMAND(BOD)
The biochemical oxygen demand (BOD) represents the amount of dissolved oxygen (DO) consumed by biological organisms when they decompose organic matter in water
The biochemical oxygen demand (BOD) is also called biological oxygen demand
The BOD is a pollution parameter mainly to asses the quality of effluent or wastewater.
A BOD level of 1-2 ppm is considered very good. There will not be much organic waste present in the water supply.
A water supply with a BOD level of 3-5 ppm is considered moderately clean.

## Slide 17
Biological oxygen demand directly affects the amount of dissolved oxygen in rivers and streams. The rate of oxygen consumption is affected by a number of variables: temperature, pH, the presence of certain kinds of microorganisms, and the type of organic and inorganic material in the water.
The greater the value, the more rapidly oxygen is depleted in the stream. This means less oxygen is available to higher forms of aquatic life. The consequences of high BOD are the same as those for low dissolved oxygen: aquatic organisms become stressed, suffocate, and die.
Sources of biochemical oxygen demand include topsoil, leaves and woody debris; animal manure; effluents from pulp and paper mills, wastewater treatment plants, feedlots, and food-processing plants; failing septic systems; and urban stormwater runoff.

## Slide 18
Biological oxygen demand is affected by the same factors that affect dissolved oxygen. Measuring biochemical oxygen demand requires taking two measurements. One is measured immediately for dissolved oxygen (initial), and the second is incubated in the lab for 5 days and then tested for the amount of dissolved oxygen remaining (final). This represents the amount of oxygen consumed by microorganisms to break down the organic matter present in the sample during the incubation period

## Slide 19: Biological Oxygen Demand Measuring Instrument

## Slide 23: CHEMICAL OXYGEN DEMAND
The chemical oxygen demand (COD) determines the amount of oxygen required for chemical oxidation of organic matter using a strong chemical oxidant, such as, potassium dichromate under reflux conditions. ... The amount of dichromate consumed is proportional to the oxygen required to oxidize the oxidizable organic matter
In environmental chemistry, the chemical oxygen demand is an indicative measure of the amount of oxygen that can be consumed by reactions in a measured solution.
It is commonly expressed in mass of oxygen consumed over volume of solution which in SI units is milligrams per litre.

## Slide 24
A COD test can be used to easily quantify the amount of organics in water.
The most common application of COD is in quantifying the amount of oxidizable pollutants found in surface water (e.g. lakes and rivers) or wastewater.
COD is useful in terms of water quality by providing a metric to determine the effect an effluent will have on the receiving body, much like biochemical oxygen demand (BOD).

## Slide 25: BOD Determination Method

## Slide 27: Thanks !!! Have a Nice Day